Auto-draining device

Automatically drains the shower head and flexible hose

Reference: AT880

Specification description

Auto-draining device in chrome-plated brass which automatically drains the shower head and flexible shower hose.

Prevents water stagnation and reduces bacterial proliferation.

Body made from chrome-plated brass with a downstream purge.

Inlet F1/2" with filter to connect to the bottom outlet of the mixer.

Outlet M1/2" to connect to the flexible hose.

For use with a short flexible hose AT836T3.