SILVER flexible shower hose

Smooth PVC flexible hose FF1/2"

L. 33.5"

Reference: AT836T3

Specification description

Smooth, metal-effect, reinforced PVC, SILVER flexible shower hose, FF1/2", L. 33.5".

Easy to maintain and limits bacterial retention.

PVC reinforced hose with thread polyester conforms to European standard EN 1113.

Smooth, food grade, PVC inner tube.

Chrome-plated, conical brass connectors 1/2".

Will withstand strain up to 110 lbs, bending and twisting.