**Faucet transition adapter 13/16"-27 M x 55/64"-27 M**

Female thread

Faucet outlet type: Kohler Central

Reference: **AT030344**

Specification description

Faucet transition adapter 13/16"-27 Male x 55/64"-27 Male

Female thread - Faucet outlet type: Kohler Central

The adapter should be installed before the quick connector.

Easy to install.