**SILVER flexible shower hose**

Smooth PVC shower hose FF1/2"

L.1.50m

Reference: **AT836T1**

Specification description

Smooth food-grade, metal-effect, reinforced PVC, SILVER flexible shower hose, FF1/2", L. 59".

Easy to maintain and reduces bacterial retention.

PVC hose reinforced with polyester threads, complies with European standard EN 1113.

Tube interior made from smooth, food grade PVC.

Conical 1/2" connectors.

Will withstand strain up to 110 lbs, bending and twisting.